## Instructions
The provided checklist is designed to assist the user with general installation guidance and pre-inspection quality control.
Refer to manufacturer's installation instructions for product specific information which may supercede the information given here.
See DrJ Best Practices for additional Educational Programs

## Checklist
Revised 2/16/2017
Items to be Checked | Designer | Plan Reviewer | Comments
Technical Evaluation Report
Report is from an accredited ISO/IEC 17065 Product Certification Body
Verify FRT reduction factors for fumber species used
For Lumber
For Connectors
Design Software
Verify calculation of FRT lumber and plate reductions
Verify that the reduced DOL has been used for the truss design.